{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Raw \"Dummy\" TPD","Sensitivities","Mass Spectrum"],"not_rendered":{"charts":9},"read":"whole","date_system":"1900"}

{"sheet":"Raw \"Dummy\" TPD","index":0,"n_rows":314,"n_cols":5,"rows_kept":314}
["Example of Dummy TPD for the determination of sensitivity factors for acetaldehyde"]
[]
["Experiment:"]
["1. Leak 3E-8 Torr acetaldehyde"]
["2. Run TPD program, following 29, 43 and 44 amu (there is no need to clean, cool, or heat the sample, the T value is not needed)"]
["3. Increase acetaldehyde pressure to 7E-8 Torr after 10 s"]
["4. Increase acetaldehyde pressure to 2E-7 Torr after 20 s"]
["5. Stop after 30 s"]
[]
[0.1,"Delta t/s","(time between points)"]
[]
[null,null,"Intensities"]
["time/s","T/K","29amu","43amu","44amu"]
[0,100.9,0.075,0.04,0.052]
[{"$f":"A14+A$10","v":0.1},100.9,0.075,0.04,0.052]
[{"$f":"A15+A$10","v":0.2},100.9,0.075,0.04,0.052]
[0.30000000000000004,100.9,0.075,0.04,0.052]
[0.4,100.9,0.075,0.04,0.052]
[0.5,100.9,0.075,0.04,0.052]
[0.6,100.9,0.075,0.04,0.052]
[0.7,100.9,0.075,0.04,0.052]
[0.7999999999999999,100.9,0.075,0.04,0.052]
[0.8999999999999999,100.9,0.075,0.04,0.052]
[0.9999999999999999,100.9,0.075,0.04,0.052]
[1.0999999999999999,100.9,0.075,0.04,0.052]
[1.2,100.9,0.075,0.04,0.052]
[1.3,100.9,0.075,0.04,0.052]
[1.4000000000000001,100.9,0.075,0.04,0.052]
[1.5000000000000002,100.9,0.075,0.04,0.052]
[1.6000000000000003,100.9,0.075,0.04,0.052]
[1.7000000000000004,100.9,0.075,0.04,0.052]
[1.8000000000000005,100.9,0.075,0.04,0.052]
[1.9000000000000006,100.9,0.075,0.04,0.052]
[2.0000000000000004,100.9,0.075,0.04,0.052]
[2.1000000000000005,100.9,0.075,0.04,0.052]
[2.2000000000000006,100.9,0.075,0.04,0.052]
[2.3000000000000007,100.9,0.075,0.04,0.052]
[2.400000000000001,100.9,0.075,0.04,0.052]
[2.500000000000001,100.9,0.075,0.04,0.052]
[2.600000000000001,100.9,0.075,0.04,0.052]
[2.700000000000001,100.9,0.075,0.04,0.052]
[2.800000000000001,100.9,0.075,0.04,0.052]
[2.9000000000000012,100.9,0.075,0.04,0.052]
[3.0000000000000013,100.9,0.075,0.04,0.052]
[3.1000000000000014,100.9,0.075,0.04,0.052]
[3.2000000000000015,100.9,0.075,0.04,0.052]
[3.3000000000000016,100.9,0.075,0.04,0.052]
[3.4000000000000017,100.9,0.075,0.04,0.052]
[3.5000000000000018,100.9,0.075,0.04,0.052]
[3.600000000000002,100.9,0.075,0.04,0.052]
[3.700000000000002,100.9,0.075,0.04,0.052]
[3.800000000000002,100.9,0.075,0.04,0.052]
[3.900000000000002,100.9,0.075,0.04,0.052]
[4.000000000000002,100.9,0.075,0.04,0.052]
[4.100000000000001,100.9,0.075,0.04,0.052]
[4.200000000000001,100.9,0.075,0.04,0.052]
[4.300000000000001,100.9,0.075,0.04,0.052]
[4.4,100.9,0.075,0.04,0.052]
[4.5,100.9,0.075,0.04,0.052]
[4.6,100.9,0.075,0.04,0.052]
[4.699999999999999,100.9,0.075,0.04,0.052]
[4.799999999999999,100.9,0.075,0.04,0.052]
[4.899999999999999,100.9,0.075,0.04,0.052]
[4.999999999999998,100.9,0.075,0.04,0.052]
[5.099999999999998,100.9,0.075,0.04,0.052]
[5.1999999999999975,100.9,0.075,0.04,0.052]
[5.299999999999997,100.9,0.075,0.04,0.052]
[5.399999999999997,100.9,0.075,0.04,0.052]
[5.4999999999999964,100.9,0.075,0.04,0.052]
[5.599999999999996,100.9,0.075,0.04,0.052]
[5.699999999999996,100.9,0.075,0.04,0.052]
[5.799999999999995,100.9,0.075,0.04,0.052]
[5.899999999999995,100.9,0.075,0.04,0.052]
[{"$f":"A73+A$10","v":5.999999999999995},100.9,0.075,0.04,0.052]
[6.099999999999994,100.9,0.075,0.04,0.052]
[6.199999999999994,100.9,0.075,0.04,0.052]
[6.299999999999994,100.9,0.075,0.04,0.052]
[6.399999999999993,100.9,0.075,0.04,0.052]
[6.499999999999993,100.9,0.075,0.04,0.052]
[6.5999999999999925,100.9,0.075,0.04,0.052]
[6.699999999999992,100.9,0.075,0.04,0.052]
[6.799999999999992,100.9,0.075,0.04,0.052]
[6.8999999999999915,100.9,0.075,0.04,0.052]
[6.999999999999991,100.9,0.075,0.04,0.052]
[7.099999999999991,100.9,0.075,0.04,0.052]
[7.19999999999999,100.9,0.075,0.04,0.052]
[7.29999999999999,100.9,0.075,0.04,0.052]
[7.39999999999999,100.9,0.075,0.04,0.052]
[7.499999999999989,100.9,0.075,0.04,0.052]
[7.599999999999989,100.9,0.075,0.04,0.052]
[7.699999999999989,100.9,0.075,0.04,0.052]
[7.799999999999988,100.9,0.075,0.04,0.052]
[7.899999999999988,100.9,0.075,0.04,0.052]
[7.999999999999988,100.9,0.075,0.04,0.052]
[8.099999999999987,100.9,0.075,0.04,0.052]
[8.199999999999987,100.9,0.075,0.04,0.052]
[8.299999999999986,100.9,0.075,0.04,0.052]
[8.399999999999986,100.9,0.075,0.04,0.052]
[8.499999999999986,100.9,0.075,0.04,0.052]
[8.599999999999985,100.9,0.075,0.04,0.052]
[8.699999999999985,100.9,0.075,0.04,0.052]
[8.799999999999985,100.9,0.075,0.04,0.052]
[8.899999999999984,100.9,0.075,0.04,0.052]
[8.999999999999984,100.9,0.075,0.04,0.052]
[9.099999999999984,100.9,0.075,0.04,0.052]
[9.199999999999983,100.9,0.075,0.04,0.052]
[9.299999999999983,100.9,0.075,0.04,0.052]
[9.399999999999983,100.9,0.075,0.04,0.052]
[9.499999999999982,100.9,0.075,0.04,0.052]
[9.599999999999982,100.9,0.075,0.04,0.052]
[9.699999999999982,100.9,0.075,0.04,0.052]
[9.799999999999981,100.9,0.075,0.04,0.052]
[9.89999999999998,100.9,0.075,0.04,0.052]
[9.99999999999998,100.9,0.075,0.04,0.052]
[10.09999999999998,100.9,0.215,0.088,0.148]
[10.19999999999998,100.9,0.215,0.088,0.148]
[10.29999999999998,100.9,0.215,0.088,0.148]
[10.399999999999979,100.9,0.215,0.088,0.148]
[10.499999999999979,100.9,0.215,0.088,0.148]
[10.599999999999978,100.9,0.215,0.088,0.148]
[10.699999999999978,100.9,0.215,0.088,0.148]
[10.799999999999978,100.9,0.215,0.088,0.148]
[10.899999999999977,100.9,0.215,0.088,0.148]
[10.999999999999977,100.9,0.215,0.088,0.148]
[11.099999999999977,100.9,0.215,0.088,0.148]
[11.199999999999976,100.9,0.215,0.088,0.148]
[11.299999999999976,100.9,0.215,0.088,0.148]
[11.399999999999975,100.9,0.215,0.088,0.148]
[11.499999999999975,100.9,0.215,0.088,0.148]
[{"$f":"A129+A$10","v":11.599999999999975},100.9,0.215,0.088,0.148]
[11.699999999999974,100.9,0.215,0.088,0.148]
[11.799999999999974,100.9,0.215,0.088,0.148]
[11.899999999999974,100.9,0.215,0.088,0.148]
[11.999999999999973,100.9,0.215,0.088,0.148]
[12.099999999999973,100.9,0.215,0.088,0.148]
[12.199999999999973,100.9,0.215,0.088,0.148]
[12.299999999999972,100.9,0.215,0.088,0.148]
[12.399999999999972,100.9,0.215,0.088,0.148]
[12.499999999999972,100.9,0.215,0.088,0.148]
[12.599999999999971,100.9,0.215,0.088,0.148]
[12.69999999999997,100.9,0.215,0.088,0.148]
[12.79999999999997,100.9,0.215,0.088,0.148]
[12.89999999999997,100.9,0.215,0.088,0.148]
[12.99999999999997,100.9,0.215,0.088,0.148]
[13.09999999999997,100.9,0.215,0.088,0.148]
[13.199999999999969,100.9,0.215,0.088,0.148]
[13.299999999999969,100.9,0.215,0.088,0.148]
[13.399999999999968,100.9,0.215,0.088,0.148]
[13.499999999999968,100.9,0.215,0.088,0.148]
[13.599999999999968,100.9,0.215,0.088,0.148]
[13.699999999999967,100.9,0.215,0.088,0.148]
[13.799999999999967,100.9,0.215,0.088,0.148]
[13.899999999999967,100.9,0.215,0.088,0.148]
[13.999999999999966,100.9,0.215,0.088,0.148]
[14.099999999999966,100.9,0.215,0.088,0.148]
[14.199999999999966,100.9,0.215,0.088,0.148]
[14.299999999999965,100.9,0.215,0.088,0.148]
[14.399999999999965,100.9,0.215,0.088,0.148]
[14.499999999999964,100.9,0.215,0.088,0.148]
[14.599999999999964,100.9,0.215,0.088,0.148]
[14.699999999999964,100.9,0.215,0.088,0.148]
[14.799999999999963,100.9,0.215,0.088,0.148]
[14.899999999999963,100.9,0.215,0.088,0.148]
[14.999999999999963,100.9,0.215,0.088,0.148]
[15.099999999999962,100.9,0.215,0.088,0.148]
[15.199999999999962,100.9,0.215,0.088,0.148]
[15.299999999999962,100.9,0.215,0.088,0.148]
[15.399999999999961,100.9,0.215,0.088,0.148]
[15.499999999999961,100.9,0.215,0.088,0.148]
[15.59999999999996,100.9,0.215,0.088,0.148]
[15.69999999999996,100.9,0.215,0.088,0.148]
[15.79999999999996,100.9,0.215,0.088,0.148]
[15.89999999999996,100.9,0.215,0.088,0.148]
[15.99999999999996,100.9,0.215,0.088,0.148]
[16.09999999999996,100.9,0.215,0.088,0.148]
[16.19999999999996,100.9,0.215,0.088,0.148]
[16.29999999999996,100.9,0.215,0.088,0.148]
[16.399999999999963,100.9,0.215,0.088,0.148]
[16.499999999999964,100.9,0.215,0.088,0.148]
[16.599999999999966,100.9,0.215,0.088,0.148]
[16.699999999999967,100.9,0.215,0.088,0.148]
[16.79999999999997,100.9,0.215,0.088,0.148]
[16.89999999999997,100.9,0.215,0.088,0.148]
[16.99999999999997,100.9,0.215,0.088,0.148]
[17.099999999999973,100.9,0.215,0.088,0.148]
[17.199999999999974,100.9,0.215,0.088,0.148]
[17.299999999999976,100.9,0.215,0.088,0.148]
[17.399999999999977,100.9,0.215,0.088,0.148]
[17.49999999999998,100.9,0.215,0.088,0.148]
[17.59999999999998,100.9,0.215,0.088,0.148]
[17.69999999999998,100.9,0.215,0.088,0.148]
[17.799999999999983,100.9,0.215,0.088,0.148]
[17.899999999999984,100.9,0.215,0.088,0.148]
[{"$f":"A193+A$10","v":17.999999999999986},100.9,0.215,0.088,0.148]
[18.099999999999987,100.9,0.215,0.088,0.148]
[18.19999999999999,100.9,0.215,0.088,0.148]
[18.29999999999999,100.9,0.215,0.088,0.148]
[18.39999999999999,100.9,0.215,0.088,0.148]
[18.499999999999993,100.9,0.215,0.088,0.148]
[18.599999999999994,100.9,0.215,0.088,0.148]
[18.699999999999996,100.9,0.215,0.088,0.148]
[18.799999999999997,100.9,0.215,0.088,0.148]
[18.9,100.9,0.215,0.088,0.148]
[19,100.9,0.215,0.088,0.148]
[19.1,100.9,0.215,0.088,0.148]
[19.200000000000003,100.9,0.215,0.088,0.148]
[19.300000000000004,100.9,0.215,0.088,0.148]
[19.400000000000006,100.9,0.215,0.088,0.148]
[19.500000000000007,100.9,0.215,0.088,0.148]
[19.60000000000001,100.9,0.215,0.088,0.148]
[19.70000000000001,100.9,0.215,0.088,0.148]
[19.80000000000001,100.9,0.215,0.088,0.148]
[19.900000000000013,100.9,0.215,0.088,0.148]
[20.000000000000014,100.9,0.215,0.088,0.148]
[20.100000000000016,100.9,0.755,0.278,0.48]
[{"$f":"A215+A$10","v":20.200000000000017},100.9,0.755,0.278,0.48]
[20.30000000000002,100.9,0.755,0.278,0.48]
[20.40000000000002,100.9,0.755,0.278,0.48]
[20.50000000000002,100.9,0.755,0.278,0.48]
[20.600000000000023,100.9,0.755,0.278,0.48]
[20.700000000000024,100.9,0.755,0.278,0.48]
[20.800000000000026,100.9,0.755,0.278,0.48]
[20.900000000000027,100.9,0.755,0.278,0.48]
[21.00000000000003,100.9,0.755,0.278,0.48]
[21.10000000000003,100.9,0.755,0.278,0.48]
[21.20000000000003,100.9,0.755,0.278,0.48]
[21.300000000000033,100.9,0.755,0.278,0.48]
[21.400000000000034,100.9,0.755,0.278,0.48]
[21.500000000000036,100.9,0.755,0.278,0.48]
[21.600000000000037,100.9,0.755,0.278,0.48]
[21.70000000000004,100.9,0.755,0.278,0.48]
[21.80000000000004,100.9,0.755,0.278,0.48]
[21.90000000000004,100.9,0.755,0.278,0.48]
[22.000000000000043,100.9,0.755,0.278,0.48]
[22.100000000000044,100.9,0.755,0.278,0.48]
[22.200000000000045,100.9,0.755,0.278,0.48]
[22.300000000000047,100.9,0.755,0.278,0.48]
[22.40000000000005,100.9,0.755,0.278,0.48]
[22.50000000000005,100.9,0.755,0.278,0.48]
[22.60000000000005,100.9,0.755,0.278,0.48]
[22.700000000000053,100.9,0.755,0.278,0.48]
[22.800000000000054,100.9,0.755,0.278,0.48]
[22.900000000000055,100.9,0.755,0.278,0.48]
[23.000000000000057,100.9,0.755,0.278,0.48]
[23.10000000000006,100.9,0.755,0.278,0.48]
[23.20000000000006,100.9,0.755,0.278,0.48]
[23.30000000000006,100.9,0.755,0.278,0.48]
[23.400000000000063,100.9,0.755,0.278,0.48]
[23.500000000000064,100.9,0.755,0.278,0.48]
[23.600000000000065,100.9,0.755,0.278,0.48]
[23.700000000000067,100.9,0.755,0.278,0.48]
[23.800000000000068,100.9,0.755,0.278,0.48]
[23.90000000000007,100.9,0.755,0.278,0.48]
[24.00000000000007,100.9,0.755,0.278,0.48]
[24.100000000000072,100.9,0.755,0.278,0.48]
[24.200000000000074,100.9,0.755,0.278,0.48]
[24.300000000000075,100.9,0.755,0.278,0.48]
[24.400000000000077,100.9,0.755,0.278,0.48]
[24.500000000000078,100.9,0.755,0.278,0.48]
[24.60000000000008,100.9,0.755,0.278,0.48]
[24.70000000000008,100.9,0.755,0.278,0.48]
[24.800000000000082,100.9,0.755,0.278,0.48]
[24.900000000000084,100.9,0.755,0.278,0.48]
[25.000000000000085,100.9,0.755,0.278,0.48]
[25.100000000000087,100.9,0.755,0.278,0.48]
[25.200000000000088,100.9,0.755,0.278,0.48]
[25.30000000000009,100.9,0.755,0.278,0.48]
[25.40000000000009,100.9,0.755,0.278,0.48]
[25.500000000000092,100.9,0.755,0.278,0.48]
[25.600000000000094,100.9,0.755,0.278,0.48]
[25.700000000000095,100.9,0.755,0.278,0.48]
[25.800000000000097,100.9,0.755,0.278,0.48]
[25.900000000000098,100.9,0.755,0.278,0.48]
[26.0000000000001,100.9,0.755,0.278,0.48]
[26.1000000000001,100.9,0.755,0.278,0.48]
[26.200000000000102,100.9,0.755,0.278,0.48]
[26.300000000000104,100.9,0.755,0.278,0.48]
[26.400000000000105,100.9,0.755,0.278,0.48]
[26.500000000000107,100.9,0.755,0.278,0.48]
[{"$f":"A279+A$10","v":26.600000000000108},100.9,0.755,0.278,0.48]
[26.70000000000011,100.9,0.755,0.278,0.48]
[26.80000000000011,100.9,0.755,0.278,0.48]
[26.900000000000112,100.9,0.755,0.278,0.48]
[27.000000000000114,100.9,0.755,0.278,0.48]
[27.100000000000115,100.9,0.755,0.278,0.48]
[27.200000000000117,100.9,0.755,0.278,0.48]
[27.300000000000118,100.9,0.755,0.278,0.48]
[27.40000000000012,100.9,0.755,0.278,0.48]
[27.50000000000012,100.9,0.755,0.278,0.48]
[27.600000000000122,100.9,0.755,0.278,0.48]
[27.700000000000124,100.9,0.755,0.278,0.48]
[27.800000000000125,100.9,0.755,0.278,0.48]
[27.900000000000126,100.9,0.755,0.278,0.48]
[28.000000000000128,100.9,0.755,0.278,0.48]
[28.10000000000013,100.9,0.755,0.278,0.48]
[28.20000000000013,100.9,0.755,0.278,0.48]
[28.300000000000132,100.9,0.755,0.278,0.48]
[28.400000000000134,100.9,0.755,0.278,0.48]
[28.500000000000135,100.9,0.755,0.278,0.48]
[28.600000000000136,100.9,0.755,0.278,0.48]
[28.700000000000138,100.9,0.755,0.278,0.48]
[28.80000000000014,100.9,0.755,0.278,0.48]
[28.90000000000014,100.9,0.755,0.278,0.48]
[29.000000000000142,100.9,0.755,0.278,0.48]
[29.100000000000144,100.9,0.755,0.278,0.48]
[29.200000000000145,100.9,0.755,0.278,0.48]
[29.300000000000146,100.9,0.755,0.278,0.48]
[29.400000000000148,100.9,0.755,0.278,0.48]
[29.50000000000015,100.9,0.755,0.278,0.48]
[29.60000000000015,100.9,0.755,0.278,0.48]
[29.700000000000152,100.9,0.755,0.278,0.48]
[29.800000000000153,100.9,0.755,0.278,0.48]
[29.900000000000155,100.9,0.755,0.278,0.48]
[30.000000000000156,100.9,0.755,0.278,0.48]

{"sheet":"Sensitivities","index":1,"n_rows":85,"n_cols":16,"rows_kept":85}
["Acetaldehyde",{"$nulls":6},"Linear Fits"]
["MS Calibration"]
[{"$nulls":7},"29 amu"]
[{"$nulls":7},"SUMMARY OUTPUT"]
[]
[{"$nulls":7},"Regression Statistics"]
[{"$nulls":7},"Multiple R",0.9995270044964556]
[{"$nulls":7},"R Square",0.9990542327176575]
[{"$nulls":7},"Adjusted R Square",0.998108465435315]
[{"$nulls":7},"Standard Error",0.015616717213937295]
[{"$nulls":7},"Observations",3]
[]
[{"$nulls":7},"ANOVA"]
[{"$nulls":8},"df","SS","MS","F","Significance F"]
[{"$nulls":7},"Regression",1,0.2576227848101266,0.2576227848101266,1056.3425605536283,0.019581265075811396]
[{"$nulls":7},"Residual",1,2.4388185654008554E-4,2.4388185654008554E-4]
[{"$nulls":7},"Total",2,0.2578666666666667]
[]
[{"$nulls":8},"Coefficients","Standard Error","t Stat","P-value","Lower 95%","Upper 95%","Lower 95.0%","Upper 95.0%"]
[{"$nulls":7},"Intercept",-0.055464135021097226,0.015350881329263995,-3.613091250686939,0.17189512891814196,-0.25051474044048233,0.13958647039828787,-0.25051474044048233,0.13958647039828787]
[{"$nulls":7},"X Variable 1",4037974.6835443056,124239.93134460332,32.50142397732181,0.019581265075811396,2459363.442518603,5616585.924570008,2459363.442518603,5616585.924570008]
[]
[]
[]
[]
[]
[{"$nulls":7},"43 amu"]
[{"$nulls":7},"SUMMARY OUTPUT"]
[]
[{"$nulls":7},"Regression Statistics"]
[{"$nulls":7},"Multiple R",0.9993839988331698]
["Data",{"$nulls":6},"R Square",0.9987683771237771]
[{"$nulls":7},"Adjusted R Square",0.9975367542475542]
["Pressure / Torr","29amu","43amu","44amu",{"$nulls":3},"Standard Error",6.2466868855749124E-3]
[{"v":3e-08,"d":"3.00E-08"},0.075,0.04,0.052,{"$nulls":3},"Observations",3]
[{"v":7e-08,"d":"7.00E-08"},0.215,0.088,0.148]
[{"v":2e-07,"d":"2.00E-07"},0.755,0.278,0.48,{"$nulls":3},"ANOVA"]
[{"$nulls":8},"df","SS","MS","F","Significance F"]
[{"$nulls":7},"Regression",1,0.031643645569620266,0.031643645569620266,810.936851211071,0.022346431701875055]
["Calculated Sensitivity Factors",{"$nulls":6},"Residual",1,3.9021097046413594E-5,3.9021097046413594E-5]
["(From the slopes of the plots)",{"$nulls":6},"Total",2,0.03168266666666668]
[]
["amu","29 amu","43 amu","44 amu",{"$nulls":4},"Coefficients","Standard Error","t Stat","P-value","Lower 95%","Upper 95%","Lower 95.0%","Upper 95.0%"]
["S (V/Torr)=",{"$f":"I21","v":{"v":4037974.6835443056,"d":"4.04E+06"}},{"$f":"I45","v":{"v":1415189.8734177223,"d":"1.42E+06"}},{"$f":"I76","v":{"v":2526582.278481014,"d":"2.53E+06"}},{"$nulls":3},"Intercept",-0.006185654008438883,0.006140352531705593,-1.0073776670800865,0.4976602565751178,-0.08420589617619285,0.0718345881593151,-0.08420589617619285,0.0718345881593151]
["1/S (Torr/V)",{"$f":"1/B44","v":{"v":2.4764890282131651E-7,"d":"2.48E-07"}},{"$f":"1/C44","v":{"v":7.0661896243291558E-7,"d":"7.07E-07"}},{"$f":"1/D44","v":{"v":3.9579158316633244E-7,"d":"3.96E-07"}},{"$nulls":3},"X Variable 1",1415189.8734177223,49695.97253784128,28.476952983264752,0.022346431701875055,783745.3770074421,2046634.3698280025,783745.3770074421,2046634.3698280025]
[]
[]
[]
[{"$nulls":7},"RESIDUAL OUTPUT"]
[]
[{"$nulls":7},"Observation","Predicted Y","Residuals","Standard Residuals"]
[{"$nulls":7},1,0.03627004219409278,0.003729957805907222,0.8444407432001283]
[{"$nulls":7},2,0.09287763713080169,-4.877637130801693E-3,-1.1042686641847699]
[{"$nulls":7},3,0.27685232067510557,1.1476793248944572E-3,0.2598279209846384]
[]
[]
[]
[{"$nulls":7},"45 amu"]
[{"$nulls":7},"SUMMARY OUTPUT"]
[]
[{"$nulls":7},"Regression Statistics"]
[{"$nulls":7},"Multiple R",0.9999330725840461]
[{"$nulls":7},"R Square",0.9998661496473712]
[{"$nulls":7},"Adjusted R Square",0.9997322992947424]
[{"$nulls":7},"Standard Error",3.6745216973970256E-3]
[{"$nulls":7},"Observations",3]
[]
[{"$nulls":7},"ANOVA"]
[{"$nulls":8},"df","SS","MS","F","Significance F"]
[{"$nulls":7},"Regression",1,0.100861164556962,0.100861164556962,7470.029999999907,0.007365454849536402]
[{"$nulls":7},"Residual",1,1.3502109704641513E-5,1.3502109704641513E-5]
[{"$nulls":7},"Total",2,0.10087466666666664]
[]
[{"$nulls":8},"Coefficients","Standard Error","t Stat","P-value","Lower 95%","Upper 95%","Lower 95.0%","Upper 95.0%"]
[{"$nulls":7},"Intercept",-0.025991561181434752,3.611972077473896E-3,-7.195947428146361,0.08790621597817658,-0.07188582128011378,0.019902698917244284,-0.07188582128011378,0.019902698917244284]
[{"$nulls":7},"X Variable 1",2526582.278481014,29232.92502225972,86.42933529768648,0.007365454849536396,2155144.3394161416,2898020.2175458865,2155144.3394161416,2898020.2175458865]
[]
[]
[]
[{"$nulls":7},"RESIDUAL OUTPUT"]
[]
[{"$nulls":7},"Observation","Predicted Y","Residuals","Standard Residuals"]
[{"$nulls":7},1,0.04980590717299566,2.1940928270043347E-3,0.8444407432001609]
[{"$nulls":7},2,0.15086919831223625,-0.002869198312236254,-1.1042686641847552]
[{"$nulls":7},3,0.47932489451476806,6.7510548523191938E-4,0.25982792098459423]

{"sheet":"Mass Spectrum","index":2,"n_rows":229,"n_cols":4,"rows_kept":229}
{"$rows_empty":29}
["Mass spectrum, acetaldehyde"]
["amu","Raw","Background","Difference"]
[1,0.057631,0.056166,{"$f":"B32-C32","v":1.465000000000001E-3}]
[1.25,0.243712,0.118681,0.125031]
[1.5,0.242735,0.117705,0.12503]
[1.75,0.238828,0.122589,0.11623900000000001]
[2,0.208547,0.099634,0.10891300000000001]
[2.25,0.199756,0.079609,0.12014699999999999]
[2.5,0.016606,0.010745,0.005861]
[2.75,0.014652,0.020024,-5.372E-3]
[3,0.015629,0.016606,-9.769999999999987E-4]
[3.25,0.011233,0.016606,-0.005372999999999999]
[3.5,0.008791,0.010256,-1.4649999999999993E-3]
[3.75,0.003419,0.020513,-0.017093999999999998]
[4,0.010256,0.013675,-0.003419]
[4.25,0.013187,0.010745,2.4420000000000015E-3]
[4.5,0.01221,0.014652,-2.4419999999999997E-3]
[4.75,0.00928,7.326E-3,1.954E-3]
[5,0.008303,0.01221,-0.003907000000000001]
[5.25,0.006838,0.013675,-0.006836999999999999]
[5.5,1.954E-3,7.326E-3,-5.372E-3]
[5.75,0.011722,0.011722,0]
[6,0.015629,0.016606,-9.769999999999987E-4]
[6.25,0.014652,0.011233,0.003419]
[6.5,0.00928,0.013675,-0.004395]
[6.75,0.008791,0.006838,1.9529999999999999E-3]
[7,0.00928,0.016117,-0.006836999999999999]
[7.25,0.006838,0.010256,-0.003417999999999999]
[7.5,0.008303,0.011233,-2.9300000000000003E-3]
[7.75,7.326E-3,0.011233,-0.003907]
[8,0.011722,0.013675,-1.9529999999999999E-3]
[8.25,0.010256,0.011722,-1.4660000000000003E-3]
[8.5,0.009768,0.019536,-0.009768]
[8.75,0.017582,0.016117,1.465000000000001E-3]
[9,0.008303,0.021001,{"$f":"B64-C64","v":-0.012698}]
[9.25,0.01221,0.013187,-9.7700000000000044E-4]
[9.5,0.016117,0.012698,0.003419]
[9.75,0.007814,7.326E-3,4.8799999999999972E-4]
[10,0.011233,0.016117,-4.8839999999999995E-3]
[10.25,0.01514,0.020513,-0.005372999999999999]
[10.5,0.012698,0.008303,0.004395]
[10.75,0.004396,0.016606,-0.012209999999999999]
[11,0.00928,0.01514,-0.005860000000000001]
[11.25,0.006838,0.011722,-4.8839999999999995E-3]
[11.5,0.019536,0.022466,-2.9299999999999986E-3]
[11.75,0.043956,0.017094,0.026862]
[12,0.052747,0.026374,0.026373]
[12.25,0.047863,0.026862,0.021001000000000002]
[12.5,0.01221,0.00928,2.9300000000000003E-3]
[12.75,0.047863,0.008791,0.039072]
[13,0.047863,0.016117,0.031746]
[13.25,0.064957,0.006838,0.058119000000000004]
[13.5,0.019048,0.014164,4.8839999999999995E-3]
[13.75,0.104029,0.021978,0.082051]
[14,0.140659,0.01514,0.125519]
[14.25,0.129915,0.014164,0.115751]
[14.5,0.034676,0.016606,0.01807]
[14.75,0.230037,0.012698,0.217339]
[15,0.32967,0.015629,0.314041]
[15.25,0.296459,0.013187,0.28327199999999997]
[15.5,0.029304,0.021001,0.008303000000000001]
[15.75,0.062515,0.025885,0.03663]
[16,0.087424,0.02735,0.060074]
[16.25,0.083516,0.020513,0.063003]
[16.5,0.008303,0.013675,-5.372E-3]
[16.75,0.026374,0.016117,0.010257000000000002]
[17,0.034188,0.026374,{"$f":"B96-C96","v":0.007814000000000002}]
[17.25,0.023932,0.025885,-1.9529999999999999E-3]
[17.5,0.020513,0.029304,-0.008791]
[17.75,0.050794,0.04884,1.9539999999999974E-3]
[18,0.079121,0.062515,0.016605999999999996]
[18.25,0.077167,0.042491,0.034676]
[18.5,0.019536,0.018559,9.7700000000000217E-4]
[18.75,0.022466,0.007814,0.014652]
[19,0.011722,0.01514,-0.003418000000000001]
[19.25,7.326E-3,0.013675,-0.006349]
[19.5,1.954E-3,0.01514,-0.013186]
[19.75,0.004884,0.010256,-0.005371999999999999]
[20,0.006349,0.013187,-0.006838000000000001]
[20.25,0.019048,0.012698,0.00635]
[20.5,0.014164,0.026862,-0.012698000000000001]
[20.75,0.014164,0.018071,-0.003907000000000001]
[21,0.019048,0.018559,4.8899999999999985E-4]
[21.25,0.016117,0.007814,0.008303]
[21.5,0.004396,0.003419,9.7699999999999957E-4]
[21.75,0.008791,0.011233,-2.4419999999999997E-3]
[22,0.013187,0.019536,-6.3490000000000005E-3]
[22.25,0.000488,0.010256,-0.009767999999999999]
[22.5,0.008303,0.006349,1.954E-3]
[22.75,0.010745,0.017094,-0.006349000000000002]
[23,0.011233,0.015629,-0.004396000000000001]
[23.25,0.00928,0.011233,-1.9529999999999999E-3]
[23.5,9.77E-4,0,9.77E-4]
[23.75,0.018559,0.012698,0.005861]
[24,0.02442,0.020024,0.004396000000000001]
[24.25,0.023443,0.025397,-0.001954000000000001]
[24.5,0.020513,0.015629,4.8839999999999995E-3]
[24.75,0.046398,0.007814,0.038584]
[25,0.054701,0.010745,{"$f":"B128-C128","v":0.043956}]
[25.25,0.035653,0.013675,0.021977999999999998]
[25.5,0.021978,0.021978,0]
[25.75,0.0884,0.015629,0.072771]
[26,0.107448,0.020513,0.086935]
[26.25,0.100122,0.00928,0.090842]
[26.5,0.016606,0.013675,2.9309999999999996E-3]
[26.75,0.044444,0.019048,0.025396]
[27,0.065446,0.014652,0.050794000000000006]
[27.25,0.050794,0.015629,0.035165]
[27.5,0.056654,0.03663,0.020024]
[27.75,0.393651,0.093285,0.30036599999999997]
[28,0.464957,0.103053,0.361904]
[28.25,0.40293,0.061538,0.34139200000000003]
[28.5,0.079121,0.01221,0.066911]
[28.75,0.606105,0.012698,0.593407]
[29,0.732601,0.011233,0.7213679999999999]
[29.25,0.610012,0.014652,0.59536]
[29.5,0.024908,0.008791,0.016117]
[29.75,0.014164,0.00928,4.8839999999999995E-3]
[30,0.01221,0.014164,-0.001953999999999999]
[30.25,0.025885,0.010745,0.015139999999999999]
[30.5,0.017094,0.011233,0.005861000000000002]
[30.75,0.026374,0.014652,0.011722000000000002]
[31,0.015629,0.017094,-1.465000000000001E-3]
[31.25,0.018071,0.00928,0.008791]
[31.5,0.011233,0.011722,-4.8899999999999985E-4]
[31.75,0.009768,0.019536,-0.009768]
[32,0.019048,0.011722,0.007325999999999999]
[32.25,0.010745,0.022466,-0.011721]
[32.5,0.011233,0.01514,-0.003907000000000001]
[32.75,0.018071,0.016606,1.465000000000001E-3]
[33,0.004396,0.01221,{"$f":"B160-C160","v":-0.007814000000000002}]
[33.25,0,0.015629,-0.015629]
[33.5,0.021978,0.014164,0.007814000000000002]
[33.75,0.009768,0.007814,0.001954000000000001]
[34,0.018071,0.017094,9.769999999999987E-4]
[34.25,0.010745,0.003907,6.8379999999999995E-3]
[34.5,0.016606,0.021001,-0.004395]
[34.75,0.011233,0.008791,2.4419999999999997E-3]
[35,0.008791,0.018071,-0.00928]
[35.25,7.326E-3,0.021001,-0.013675]
[35.5,0.018071,0.021001,-2.9299999999999986E-3]
[35.75,0.01514,0.014652,4.8800000000000059E-4]
[36,0.017094,0.014164,2.930000000000002E-3]
[36.25,0.017094,0.012698,0.004396000000000002]
[36.5,0.006349,0.016117,-0.009767999999999999]
[36.75,0.013675,0.013187,4.8799999999999885E-4]
[37,0.007814,0.015629,-0.007815]
[37.25,0.018071,0.010256,0.007815]
[37.5,0.008791,0.004884,0.003907]
[37.75,0.009768,0.009768,0]
[38,0.02149,0.01221,0.009279999999999998]
[38.25,0.017582,0.021978,-0.004396000000000001]
[38.5,0.014164,0.013675,4.8899999999999985E-4]
[38.75,0.01514,0.006838,0.008302]
[39,0.015629,0.02149,-0.005860999999999998]
[39.25,0.008791,0.009768,-9.7700000000000044E-4]
[39.5,0.012698,0.020513,-0.007815]
[39.75,0.021001,0.019048,1.9529999999999999E-3]
[40,0.016606,0.020513,-0.003907000000000001]
[40.25,0.013675,0.013675,0]
[40.5,0.017582,0.011233,6.3490000000000005E-3]
[40.75,0.036142,0.004884,0.031258]
[41,0.047375,0.010745,{"$f":"B192-C192","v":0.03663}]
[41.25,0.044933,0.011722,0.033211000000000004]
[41.5,0.020513,0.00928,0.011233]
[41.75,0.071306,0.010256,0.06104999999999999]
[42,0.097192,0.018559,0.07863300000000001]
[42.25,0.081074,0.013675,0.06739899999999999]
[42.5,0.03956,0.014164,0.025396]
[42.75,0.186569,0.019536,0.16703300000000001]
[43,0.252991,0.013675,0.23931600000000003]
[43.25,0.200244,0.011233,0.189011]
[43.5,0.06398,0.009768,0.054211999999999996]
[43.75,0.388278,0.043956,0.344322]
[44,0.500122,0.044933,0.45518899999999995]
[44.25,0.386325,0.030281,0.35604399999999997]
[44.5,0.028327,0.017582,0.010745000000000001]
[44.75,0.025397,0.009768,0.015628999999999997]
[45,0.018559,0.013675,4.8839999999999995E-3]
[45.25,0.022466,0.01221,0.010256]
[45.5,0.010745,7.326E-3,3.4189999999999993E-3]
[45.75,0.013675,0.010256,0.003419]
[46,0.016606,0.014652,0.001953999999999999]
[46.25,0.023932,0.01221,0.011721999999999998]
[46.5,0.022955,0.011722,0.011233]
[46.75,0.004884,0.009768,-0.004884]
[47,0.016117,0.018071,-0.001954000000000001]
[47.25,0.016606,0.02149,-4.8839999999999995E-3]
[47.5,0.018071,0.015629,2.4419999999999997E-3]
[47.75,0.008303,0.010745,-2.4419999999999997E-3]
[48,0.008303,0.015629,-0.007326000000000001]
[48.25,7.326E-3,0.013675,-0.006349]
[48.5,0.009768,0.01514,-5.372E-3]
[48.75,0.013675,0.00293,0.010745]
[49,0.013187,0.01221,{"$f":"B224-C224","v":9.7700000000000044E-4}]
[49.25,0.009768,0.014164,-0.004395999999999999]
[49.5,5.372E-3,0.020024,-0.014652]
[49.75,0.013187,0.022955,-0.009767999999999999]
[50,0.023443,0.018071,0.005371999999999998]
["\u001a","",""]